## Slide 1: Senior Design: Steam Heat Controller
Team Members: Curtis Mayberry, Ben Cao,
Thinh Luong, Ben Jusufovic
Advisors: Lee Harker, Jason Boyd
Notes: Ben Cao

## Slide 2: Overview
Project Goals & Concept Diagram
System Decomposition
System Design
Test Plan
Resources and budget
Current Status
Notes: Ben Cao

## Slide 3: Problem Statement
Currently, the old section of Coover utilizes steam valves in order to heat adjacent rooms. In extreme cases, one steam valve controls the temperature in five different rooms through five radiators. This leads to temperature offset in the rooms and continuous adjustment of the valve in order to accommodate the individuals within each room.
Notes: Ben Jusufovic

## Slide 4: Project Goal
The goal of our project is to provide a user interface that will allow individuals to set a desired temperature within multiple rooms without ambiguity and a heat valve controller unit that will accommodate the desired temperature. Our project will also provide remote system access to Facilities Planning and Management in order to save on energy costs and system management.
Notes: Ben Jusufovic

## Slide 5: Functional Requirements
Intended use as a thermostat helps define:
Effectively control the temperature in the room
Take occupant’s preferences
Multiple room control
External control
Removable mechanical interface
Network interface
Notes: Ben Cao

## Slide 6: Non-Functional Requirements
Considering the user interface unit:
Large LCD - visibility
Graphical based LCD - usability
Gray, green, yellow, or blue tint of LCD -aesthetic appeal.
Large rubber base push buttons - usability.
Translucent push buttons - aesthetic appeal.
Notes: Ben Cao

## Slide 7: Market Research
Current solutions
  Automated Valve & Equipment Co.
  Johnson Controls
Our solution
  Minimal modification
  Adaptable to numerous valves
  Simple web interface
Target clients
  Coover Building
  Sweeney, Gilman, Physics Hall…
Notes: Thinh Luong

## Slide 8: Potential Risks & Mitigation
Hardware failure
Mechanical interface integration delays
Loss of a team member
Short testing window
Power Failure
Component obsolescence
Unexpected lead times
Notes: Thinh Luong

## Slide 9: Constraints
Temperature Sensors controlled by wireless
Mechanical implementation
Temperature differentiation between rooms
Plant restrictions (heat output)
Minimum alteration to existing infrastructure
Limited heat output
User rationality:
Limited testing period
Notes: Curtis

## Slide 10: System Decomposition
Notes: Curtis

## Slide 11: User Interface
Notes: Curtis

## Slide 12: Controller Box
Notes: Curtis

## Slide 13: Mechanical Interface
Extruded Aluminum
IG52 Gear motor
L298N Motor Driver
Notes: Thinh
Photo references:
http://cpc.farnell.com/1/1/19192-dual-full-bridge-driver-4a-op-l298n-stmicroelectronics.html
http://detail.en.china.cn/provide/detail,1065484460.html
http://www.superdroidrobots.com/shop/item.aspx?itemid=937

## Slide 14: Ethernet and Web Interface
Notes: Ben Cao

## Slide 15: Schematic Design
Notes: Ben Jusufovic

## Slide 16: Wireless Transceiver Controller Algorithm
Xbee 802.15.4
Extended range (high power)
PID controller algorithm
32 bit Atmel Microcontroller
Notes: Curtis

## Slide 17: Functional Test Plan
Valve calibration
Range Test
Response Test
Equalization and weighting Test
Environmental and extreme Tests
Monitored extended use testing
Notes: Curtis Mayberry

## Slide 18: Software Test Plan
Component Testing
  Microcontroller, Temperature Sensor, and LCD
  Ethernet Components
  Wireless transceiver
  Website Interface
Comprehensive systems
Notes: Ben Cao

## Slide 19: Hardware Test Plan
Power
DC Motor
Microprocessor
LCD
Unit casings
Temperature sensor
Push Buttons
Notes: Ben Jusufovic

## Slide 20: Resource/Cost Estimate
Notes: Thinh Luong

## Slide 21: Project Milestones and Current Status
Notes: Ben Cao

## Slide 22: Future Project Milestones and Status
Notes: Ben Cao

## Slide 23: Responsibilities & Contributions
Curtis Mayberry – Webmaster, wireless transceiver, control algorithms design
Ben Cao –Team leader, web interface, Ethernet interface
Ben Jusufovic – Communications liaison, LCD, power system design, schematic design
Thinh Luong – Systems engineer, mechanical interface, motor implementation
Even responsibilities and contributions
Collaborative effort
Notes: Thinh Luong

## Slide 24: Plan for Winter Break
Complete PCB design
Populate PCB
Implement Microcontroller Peripheral Software
Attach mechanical platform and implement controller
Notes: Ben Jusufovic

## Slide 25: Plan for Next Semester
Complete hardware prototype
Complete network interface
Tune controller algorithm
Hardware and software testing
Functional testing
End user documentation
Notes: Ben Jusufovic

## Slide 26: Questions?
Notes: Thinh Luong

## Slide 27: Appendices
Encore!

## Slide 28: Controller Box Budget

## Slide 29: Control Panel (UI)

## Slide 30: USB Charging Circuitry

## Slide 31: LCD Implementation

## Slide 32: Ethernet Design & RJ45 with Integrated Magnetics

## Slide 33: Microcontroller Implementation

## Slide 34: Controller Box Budget

## Slide 35: Control Panel (UI)

## Slide 36: Functional Diagram

## Slide 37: Logical Diagram

## Slide 38: Temp Error to Rotation
Range: 60˚ - 80˚
Table for each temperature
Temperature < 60
  Fully open
Temperature > 80
  Fully close

## Slide 39: Mechanical test criteria

## Slide 40: Mechanical Components
IG42 Gear motor
Shaft encoder

## Slide 41: Motor control test circuit

## Slide 42: Shaft encoder output circuit

## Slide 43: LAN8700 System Block Diagram

## Slide 44: MII Ethernet standard pin mapping

## Slide 45: DMA controller’s types of operation
  Receive buffer manager write
  Receive buffer manager read
  Transmit data DMA read
  Receive data DMA write
  Transmit buffer manager read
  Transmit buffer manager write

## Slide 46: PID Algorithm

## Slide 47: PID Controller Difference Equation

## Slide 48: Xbee connections

## Slide 49: Hardware Test Plan

## Slide 50: Functional Test Plan

## Slide 51: Set Point Algorithm

## Slide 53: Power Supply