## Slide 1
Steam Heat Controller
for Coover Hall
May11-19
Group Members:
  Ben Jusufovic
  Ben Cao
  Thinh Luong
  Curtis Mayberry
Advisers:
  Jason Boyd
  Lee Harker

## Slide 2: Overview
Overview
Requirements
Design
Implementation
Testing
Conclusion
Questions

## Slide 3: Project Overview
Problem Background and Statement
  The old section of Coover hall utilizes steam valves to heat adjacent rooms. A steam valve in one room can control the temperature of up to five rooms. This leads to temperature offset in the rooms and continuous adjustment of the valve in order to accommodate the individuals within each room.

## Slide 4: Project Requirements
Effective temperature control
Removable mechanical Interface
Wireless user interface
Web interface
Large graphic LCD
Casing size
Casing color
Project budget

## Slide 5: Project Design

## Slide 6: Project Design

## Slide 7: Project Implementation
AVR STK600 Development Kit

## Slide 8: Project Implementation
Controller Box
  Microcontroller
  Wireless Transceiver
  Ethernet Module
  Buzzer
  Power Supply
  Motor Driver Circuit

## Slide 9: Project Implementation
Control Panel
  Microcontroller
  Wireless Transceiver
  LCD Display
  Power Supply
  Buzzer
  Push Button
  Temp Sensor
  Recharging Circuitry
Notes:   Buzzer
  Push Buttons
  Temperature Sensor
  Recharging Circuitry

## Slide 10: Website Implementation
Website Interface
  Login Authentication
  Access Levels
  Displays Current Temp
  Remotely Set Temp

## Slide 11: Integration Testing
AVR STK600 Development Kit
  Microcontroller
  Push Button
  Motor System
  Temperature Sensor
  LCD
  Wireless Transceiver

## Slide 12: Functional Testing
Simulate operating environment
System performance test

## Slide 13: Lessons Learned
PCB Board
  Floating pins
  Power line routing
  Inductor selection
Microcontroller
  Integrated Ethernet
  Less functionalities
  Provide external clock
Motor
  Filtering current sense
  Encoder with index channel

## Slide 14: Conclusion
3 Control panels
1 Controller box
Website
Successful implementation
Possible improvements:
  Completion of the recharging circuitry
  Ethernet connection
  Additional testing
    various seasonal and environmental conditions

## Slide 15: Questions

## Slide 16: Thank You

## Slide 17: Appendix

## Slide 18: Final Budget

## Slide 19
P
P
P
P
P
P
P
P
N/A
N/A
N/A
N/A
N/A

## Slide 23: Software Testing Results

## Slide 24: Simulink set up