## Slide 1: Senior Design Team 19: Steam Heat Controller
Team Members: Ben Jusufovic, Ben Cao, Curtis Mayberry, Thinh Luong
Advisors & Clients: Lee Harker, Jason Boyd

## Slide 2: Overview
Project Overview (2 mins)
Project Plan (1 min)
Project Design (2 mins)
Project Implementation (4 mins)
Current Status (1 min)
Questions

## Slide 3: Project Overview
Problem Background and Statement
  The old section of Coover hall utilizes steam valves to heat adjacent rooms. A steam valve in one room can control the temperature of up to five rooms. This leads to temperature offset in the rooms and continuous adjustment of the valve in order to accommodate the individuals within each room.

## Slide 4: Project Overview
Requirements and Specifications
  Mechanical system
  Wireless interface between temperature sensor and controller
  PID Temperature Controller
  Network interface
  Room temperature profiling
  Temperature sensor located in control panel
  LCD user interface
  building profiling
  Project budget

## Slide 5: Project Plan
Component selection
Schematic and PCB Design
Routing and Components
Mechanical Interface
Web Interface
Ethernet Transceiver
Wireless Transceiver
Motor
Temperature Sensor
LCD GUI

## Slide 6: Project Design

## Slide 7: Project Design

## Slide 8: Project Implementation
Motor and Mechanical Interface

## Slide 9: Project Implementation
LCD and AVR STK600 Development Kit

## Slide 10: Project Implementation
Schematic and PCB Design

## Slide 11: Project Implementation
Routing and Components

## Slide 12: Tests
Functional
  Valve calibration
  Range Test
  Response Test
  Equalization and weighting Test
  Environmental and extreme Tests
  Monitored extended use testing
Software
  Microcontroller
  Temperature Sensor
  LCD
  Wireless transceiver
  Networking

## Slide 13: Current Status
Component selection
Schematic and PCB Design
Routing and Components
Mechanical Interface
Motor
Temperature Sensor
Web Interface
Ethernet Transceiver
Wireless Transceiver
LCD GUI
Main Programming
PID Controller Algorithm
Testing Phase

## Slide 14: Questions?