## Slide 1: Senior Design: Steam Heat Controller
Project Overview

## Slide 2: Overview
Problem Statement
Constraints
High-level Design
Roles
Expected deliverables
Possible Issues

## Slide 3: Problem Statement
Currently, the old section of Coover utilizes steam valves in order to heat adjacent rooms. In extreme cases, one steam valve controls the temperature in three different rooms through three radiators. This leads to temperature offset in the rooms and continuous adjustment of the valve in order to accommodate the individuals within each room.

## Slide 4: Constraints
Temperature Sensors controlled by wireless
Mechanical implementation
Temperature differentiation between rooms
Financial budget: $1000 (not finalized)
Plant restrictions (heat output)

## Slide 5: High-level Design
Mechanical system
Wireless interface between temperature sensor and controller
PID Temperature Controller
LCD user interface
Network interface
Room temperature profiling
Temperature sensor located in control panel
building profiling
Interface with Johnston Control equipment?

## Slide 6: Roles
Project manager: Ben Cao
Communication Liaison: Ben Jusufovic
Systems engineer: Thinh Luong
Webmaster: Curtis Mayberry

## Slide 7: Expected Deliverables
One controller per valve
  Ability to communicate through ISU network
Functional control panel
  LCD interface
  Communicate with controller
One temperature sensor per room

## Slide 8: Possible Issues
Conflicting Preferences
  3 or 2 rooms with multiple control panels

## Slide 9: To DO and Investigations
  Begin detailed research and design
Wireless technology
Motor Selection
Interface with Johnston Control equipment?
Control unit placement
  On the wall
  On the valve
  Separate